## 31.03.2017
Salient Points in respect of Transmission Works--At a glance
Position As on 31.03.2017
S.No | Particulars | Position as on 1/12/2000 | Position as on 31/03/01 | Position as on 31/03/02 | Position as on 31/03/03 | Position as on 31/03/04 | Position as on 31/03/05 | Position as on 31/03/06 | Added during 2006-07 (CKM/MVA) | Position as on 31/03/07 | Position as on 31/3/08 | Position as on 31/03/09 | Position as on 31/3/2010 | Position as on 31/3/2011 | Position as on 31.3.2012 | Position as on 31.3.2013 | Position as on 31.3.2014 | Position as on 31.3.2015 | Position as on 31.03.2016 | Added during the Year 2016-17 | Position as on 31.03.2017
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
1 | 400 KV Sub Station
| i) No. of Sub Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | -- | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 |  | 2
| ii) No. of X'mers | 3 | 3 | 3 | 3 | 3 | 3 | 3 | -- | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 5 | 5 | 5 |  | 5
| iii) Total MVA | 945 | 945 | 945 | 945 | 945 | 945 | 945 | -- | 945 | 945 | 945 | 945 | 945 | 945 | 1260 | 1575 | 1575 | 1575 |  | 1575
2 | 220 KV Sub Station
| i) No. of Sub Station | 5 | 5 | 5 | 6 | 6 | 7 | 8 | 3 | 11 | 12 | 13 | 14 | 15 | 15 | 15 | 16 | 19 | 20 |  | 20
| ii) No. of X'mers | 12 | 12 | 12 | 13 | 14 | 16 | 18 | 4 | 22 | 23 | 25 | 27 | 28 | 31 | 33 | 34 | 40 | 41 | 1 | 42
| iii) Total MVA | 1350 | 1350 | 1350 | 1450 | 1610 | 1930 | 2250 | 640 | 2890 | 3050 | 3370 | 3690 | 4170 | 4590 | 4910 | 5070 | 6030 | 6190 | 160 | 6350
3 | 132 Sub Station
| i) No. of Sub Station | 20 | 20 | 23 | 28 | 33 | 34 | 39 | 4 | 43 | 46 | 47 | 50 | 52 | 55 | 61 | 64 | 69 | 71 | 2 | 73
| ii) No. of X'mers | 46 | 46 | 49 | 59 | 66 | 73 | 81 | 10 | 91 | 99 | 103 | 111 | 116 | 127 | 137 | 149 | 157 | 163 | 4 | 167
| iii) Total MVA | 1257 | 1264.5 | 1384.5 | 1752 | 2072 | 2353 | 2653 | 447.5 | 3100.5 | 3400.5 | 3560.5 | 4016.5 | 4190.5 | 4699.5 | 5148.5 | 5736 | 6079 | 6370 | 206 | 6576
4 | HVDC Sub Station
| i) No. of Sub Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1
| ii) No. of X'mers | 6 | 6 | 6 | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 |  | 6
| iii) Total MVA | 243 | 243 | 243 | 243 | 243 | 243 | 243 |  | 243 | 243 | 243 | 243 | 243 | 243 | 243 | 243 | 243 | 243 |  | 243
5 | Capacitor Banks (MVAR) | 94 | 94 | 94 | 254 | 329 | 349 | 474 | 170 | 644 | 794 | 814 | 844 | 830 | 925 | 965 | 1005 | 1035 | 1085 |  | 1085 | 50-10
6 | 400 KV Lines (Ckt KM) | 277 | 277 | 277 | 277 | 277 | 277 | 277 |  | 277 | 277 | 277 | 277 | 337.91 | 708 | 1111.98 | 1266.78 | 1538.12 | 1827.06 | 88.46 | 1915.52
7 | 220 KV Lines (Ckt KM) | 1594.3 | 1594.3 | 1594.3 | 1602.69 | 1625.44 | 1656.69 | 1685.23 | 467.7 | 2152.93 | 2375.77 | 2507.17 | 2604 | 2629.01 | 2785.43 | 2977.21 | 3130.87 | 3313.93 | 3431.49 | 47.02 | 3478.51
8 | +/- 100 KV HVDC (Ckt KM) | 360 | 360 | 360 | 360 | 360 | 360 | 360 |  | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 |  | 360
9 | 132 KV Lines (Ckt KM) | 2974.16 | 2974.16 | 3085.26 | 3128.96 | 3269.27 | 3387.79 | 3709.144 | 216.62 | 3925.764 | 4136.34 | 4272.83 | 4544.48 | 4789.38 | 4882.24 | 5100.4 | 5299.96 | 5475.72 | 5688.92 | 64.46 | 5753.38
10 | Intra state Transmission Capacity (MVA) | 1350 | 1350 | 1350 | 1450 | 1610 | 1930 | 2250 |  | 2890 | 3050 | 3370 | 3690 | 4170 | 4590 | 4910 | 5070 | 6030 | 6190 | 160 | 6350
[10 empty] | 400kV line | 100 | Raita-jagdalpur
220kV line

## Sheet1
2016-17
Circuit KM
400kV line | 100 | Raita-jagdalpur
220kV line | 100 | 2nd ckt Korba-Vishrampur(70) + Line for Borjhara(8)+ 2nd ckt Bemetara-Mungeli(20)
132 kV line | 200 | Line for Koni(10) + 2nd ckt mbikapur-Pathalgaon(20)+ 2nd Vishrampur- Pratappur(5) + Line for Lormi(70) + Line for Batoli(10) + Line for Borjhara(32) + Thelkadih arrangement(6) + LILO Mahasamund-Rajim (20)